**Washington State Department of Health**

**West Nile Virus Surveillance**

 **WNV-Positive Mosquito Pool Reporting Form**

Partners, please report WNV-positive mosquito pools to the DOH Zoonotic Disease Program in a timely matter. Complete the form and email to the Zoonotic Disease Program at zd@doh.wa.gov and cc: Mary Chan (mary.chan@doh.wa.gov) and Liz Dykstra (elizabeth.dykstra@doh.wa.gov) or fax to 206.364.1060.

**Required information about WNV-positive mosquito pool**

County:

City:

Zip:

Local ID:

Collection Date:

Species: **[ ]** *Culex pipiens* **[ ]** *Culex tarsalis*

Number Tested:

Site Code:

Trap Site Name:

Number of Pools in Trap:

**Test Results (Check only one)**

[ ]  Suspect [ ]  Probable  [ ]  Confirmed

**Test Method**

[ ]  RAMP® values       Confirmation by:       #

[ ]  PCR by UC Davis Lab

[ ]  PCR by Oregon State University Lab

[ ]  PCR by DOH-Tumwater Lab

Comments:

Note: The following range of RAMP® unit values are used by the Washington State Department of Health.

* RAMP® test results with a value of 50-99.9 RAMP® units will be considered negative.
* RAMP® test results with a value of 100-299.9 RAMP® units will be considered negative unless they are confirmed positive by polymerase chain reaction (PCR).
* RAMP® test results with a value ≥300 RAMP® units will be considered positive for WNV and will not require confirmation by PCR.

****

DOH 420-463

To request this document in another format, call 1-800-525-0127. Deaf or hard of hearing customers, please call 711 (Washington Relay) or email civil.rights@doh.wa.gov.